Phase II

| # Section A – Sample Detail |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| # Sample Name: | # {{ sample_name }} |  | # Re-Test Date: |  |  | # {{ retest_date }} |  |  | # Original Result: |  |  |  | # {{ sample_id }} – Fail |  |
| # Name of Analyst who Performed Re-Test: | # Prepper: # {{ retest_prepper_name }} ({{ retest_prepper_initial }}) # Processors: # {{ retest_analyst_name }} ({{retest_analyst_initial }}) # Reader: # {{ retest_reader_name }}({{ retest_reader_initial }}) |  | # Sample ID: |  |  | # Original Test: # {{ sample_id }} # Retest: # {{ retest_sample_id }} |  |  | # Re-Test Result: |  |  |  | # {{ retest_sample_id }} - {{ retest_result }} |  |
| # Section B – Investigation and Root Cause |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| # Investigation | # Is the test conducted in accordance with the same method /process? |  |  | # Yes No |  |  |  | # SOP#: |  |  |  | # If the answer is NO to any of the investigation item(s), mark the item(s) with sequential number starting with one (1) and comment here: |  |  |
|  | # Is reagents (reference standards, solvent, etc.) stored in proper condition and not expired? |  |  | # Yes No |  |  |  | Lot #: |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | # Exp. Date: |  |  |  |  |  |  |
|  | # Equipment/Instruments Used: |  |  | # Are they functional and calibrated/PM? |  |  |  | # Calibration / PM due date |  |  |  |  |  |  |
|  | # E00{{ retest_scan_id }} |  |  | # Yes No |  |  |  |  |  |  |  |  |  |  |
|  | # {{ retest_bsc_id }} and {{ retest_chgbsc_id }} |  |  | # Yes No |  |  |  |  |  |  |  |  |  |  |
|  | # Suite {{ retest_cr_suit }}{{ retest_suit }} # Suite {{ retest_chgcr_suit }}{{ retest_chgsuit }} |  |  | # Yes No |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | # Yes No |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | # Yes No |  |  |  |  |  |  |  |  |  |  |
|  | # Is the clean room facility certified? |  |  | # Yes No N/A |  |  |  | # Certified due date: |  |  |  |  |  |  |
|  | # Do the controls (i.e. positive, negative, C3, etc.,) conform to the required standards? |  |  | # Yes No N/A |  |  |  |  |  |  |  |  |  |  |
|  | # Do the environmental monitoring results conform to required standards? |  |  | # Yes No N/A |  |  |  | # SOP#: |  |  |  |  |  |  |
|  | # System Performance Check (if applicable) |  |  | # Yes No N/A |  |  |  |  |  |  |  |  |  |  |
|  | # System Suitability RSD < 2% (PDA) |  |  | # Yes No N/A |  |  |  |  |  |  |  |  |  |  |
|  | # System Suitability RSD <10 % (QDA,CAD) |  |  | # Yes No N/A |  |  |  |  |  |  |  |  |  |  |
|  | # Is the analyst trained to perform the test? |  |  | # Yes No |  |  |  |  |  |  |  |  |  |  |
|  | # Are the Test Result Records Attached & Calculations Verified and Correct? |  |  | # Yes No |  |  |  |  |  |  |  |  |  |  |
|  | # Does the processing method/ method set conform to the required specification? |  |  | # Yes No |  |  |  |  |  |  |  |  |  |  |
|  | # Re-Testing from the same vial? |  |  | # Yes No N/A |  |  |  |  |  |  |  |  |  |  |
|  | # Is formula worksheet provided and verified? |  |  | # Yes No |  |  |  |  |  |  |  |  |  |  |
| # Section C – Evaluation of Laboratory Testing/Hypothesis Testing (if applicable) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| # N/A |  |  |  |  | # Re-vialing of original working sample solution |  |  |  |  |  |  |  |  |  |
| # Re-injection of sample vial |  |  |  |  | # Re-dilution of a working sample solution from the original stock |  |  |  |  |  |  |  |  |  |
| # Re-injection of original standard vial |  |  |  |  | # Re-dilution of a working standard solution from the original stock standard |  |  |  |  |  |  |  |  |  |
| # Re-vialing of original working standard solution |  |  |  |  | # Other: _________________________________ |  |  |  |  |  |  |  |  |  |
| # Section D – Phase II Summary |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| # INITIAL TEST UNDER {{ sample_id }} # {{whole_P1}}} # Phase II Summary (continued): # RETEST UNDER SUBMISSION {{ retest_sample_id }} # Analogous to original testing, the analysts involved in prepping, processing and reading the retest samples under {{ retest_sample_id }}, {{ retest_prepper_name }}, {{ retest_analyst_name }} and {{ retest_reader_name }} confirmed no deviations from standard procedures. # The retest sample was stored upon arrival according to the Client’s instructions. Analysts {{ retest_prepper_name }} and {{ retest_analyst_name }} confirmed the integrity of the samples throughout both the preparation and processing stages. No leaks or turbidity were observed at any point, verifying that the samples remained intact. # All reagents and supplies mentioned in the material section above were stored according to the suppliers’ recommendations, and their integrity was visually verified before utilization. Moreover, each reagent and supply had valid expiration dates. # During the preparation phase, {{ retest_prepper_name }} disinfected the samples using acidified bleach and placed them into a pre-disinfected storage bin. On {{ retest_date }}, prior to sample processing, {{ retest_analyst_name }} performed a second disinfection with acidified bleach, allowing a minimum contact time of 10 minutes before transferring the samples into the cleanroom suites. # A final disinfection step was completed immediately before the samples were introduced into the ISO 5 Biological Safety Cabinet (BSC), E00{{ retest_bsc_id }}, located within the {{ retest_bsc_location }}, (Suite {{ retest_cr_suit }}{{ retest_suit }}), All activities were performed in accordance with SOP 2.600.023, Rapid Scan RDI® Test Using FIFU Method. # {{ retest_equipment_summary }} # The analyst, {{ retest_reader_name }}, confirmed that the Scan RDI equipment E00{{ retest_scan_id }}was set up as per SOP 2.700.004 (Scan RDI® System – Operations (Standard C3 Quality Check and Microscope Setup and Maintenance), and the negative control and the positive control for the analyst, {{ retest_reader_name }}, yielded expected results. # On {{ retest_date }}, a rapid sterility test was conducted on the retest sample using the ScanRDI method. The retest sample was initially prepared by Analyst {{ retest_prepper_name }}, processed by {{ retest_analyst_name }} and subsequently read by {{ retest_reader_name }} . The retest sample under {{ retest_sample_id }} {{ retest_result }} the sterility test by ScanRDI method. # All reagents and supplies utilized during the testing process were within the expiration dates. Daily verifications (Control Beads), negative and positive controls, were conducted to confirm the reliability of the testing process. All verification tests met the set forth criteria per SOP 2.600.023 (Rapid Scan RDI Test using FIFU Method), and SOP 2.700.004 (Scan RDI® System – Operations (Standard C3 Quality Check and Microscope Setup and Maintenance). # Following a detailed review of the available data, the conflicting results between the original test ({{ sample_id }}) and the retest ({{ retest_sample_id }}) may be attributed to the non-uniform distribution of microorganisms within the sample, particularly if present at low concentrations. # Based on the observations outlined above, laboratory error cannot be conclusively confirmed for either the original test or the retest. Therefore, both the failing result for {{ sample_id}} and the passing result for {{ retest_sample_id }} are considered valid. # The final disposition of the lot remains at the discretion of the client. # Phase II Summary (continued): |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| # Has root cause been identified? # Yes No | # The most probable cause is: # Client Care notified: Yes No |  |  |  |  |  |  |  |  |  |  |  |  |  |
| # Section E – Corrective and Preventive Action |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| # Corrective Action(s): |  |  |  |  |  |  |  |  |  |  | # OOS cause (select all) |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  | # Equipment Error |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  | # Procedure |  |  | # Analyst |
|  |  |  |  |  |  |  |  |  |  |  | # Training |  |  | # System |
|  |  |  |  |  |  |  |  |  |  |  | # External Phenomena |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  | # Other: ____________ |  |  |  |
| # Preventive Action(s) |  |  |  |  |  |  |  |  |  |  | # CAPA required: # Yes, CAPA # _________ # No |  |  |  |
| # FOLLOW-UP REQUIRED: Yes No |  |  |  |  |  |  | # FOLLLOW-UP DATE: |  |  |  |  |  |  |  |
| # Section F – Acknowledgement and Closure |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| # Prepared by: |  | # Print Name: |  |  |  |  |  |  |  | # Date: |  |  |  |  |
| # Reviewed by: |  | # Print Name: |  |  |  |  |  |  |  | # Date: |  |  |  |  |
| # Approved by (QA): |  | # Print Name: |  |  |  |  |  |  |  | # Date: |  |  |  |  |