Phase II

| # Section A – Sample Detail |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| # Sample Name: | # {{ sample_name }} |  | # Re-Test Date: |  |  | # {{ retest_date }} |  |  | # Original Result: |  |  |  | # {{ smart_original_result_str }} |  |
| # Name of Analyst who Performed Re-Test: | # {{ smart_retest_personnel_block }} |  | # Sample ID: |  |  | # {{ smart_sample_id_block }} |  |  | # Re-Test Result: |  |  |  | # {{ smart_retest_result_str }} |  |
| # Section B – Investigation and Root Cause |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| # Investigation | # Is the test conducted in accordance with the same method /process? |  |  | # Yes No |  |  |  | # SOP#: |  |  |  | # If the answer is NO to any of the investigation item(s), mark the item(s) with sequential number starting with one (1) and comment here: |  |  |
|  | # Is reagents (reference standards, solvent, etc.) stored in proper condition and not expired? |  |  | # Yes No |  |  |  | Lot #: |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | # Exp. Date: |  |  |  |  |  |  |
|  | # Equipment/Instruments Used: |  |  | # Are they functional and calibrated/PM? |  |  |  | # Calibration / PM due date |  |  |  |  |  |  |
|  | # {{smart_retest_scan_id}} |  |  | # Yes No |  |  |  |  |  |  |  |  |  |  |
|  | # {{ smart_retest_bsc_list }} |  |  | # Yes No |  |  |  |  |  |  |  |  |  |  |
|  | # {{ smart_retest_suite_list }} |  |  | # Yes No |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | # Yes No |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | # Yes No |  |  |  |  |  |  |  |  |  |  |
|  | # Is the clean room facility certified? |  |  | # Yes No N/A |  |  |  | # Certified due date: |  |  |  |  |  |  |
|  | # Do the controls (i.e. positive, negative, C3, etc.,) conform to the required standards? |  |  | # Yes No N/A |  |  |  |  |  |  |  |  |  |  |
|  | # Do the environmental monitoring results conform to required standards? |  |  | # Yes No N/A |  |  |  | # SOP#: |  |  |  |  |  |  |
|  | # System Performance Check (if applicable) |  |  | # Yes No N/A |  |  |  |  |  |  |  |  |  |  |
|  | # System Suitability RSD < 2% (PDA) |  |  | # Yes No N/A |  |  |  |  |  |  |  |  |  |  |
|  | # System Suitability RSD <10 % (QDA,CAD) |  |  | # Yes No N/A |  |  |  |  |  |  |  |  |  |  |
|  | # Is the analyst trained to perform the test? |  |  | # Yes No |  |  |  |  |  |  |  |  |  |  |
|  | # Are the Test Result Records Attached & Calculations Verified and Correct? |  |  | # Yes No |  |  |  |  |  |  |  |  |  |  |
|  | # Does the processing method/ method set conform to the required specification? |  |  | # Yes No |  |  |  |  |  |  |  |  |  |  |
|  | # Re-Testing from the same vial? |  |  | # Yes No N/A |  |  |  |  |  |  |  |  |  |  |
|  | # Is formula worksheet provided and verified? |  |  | # Yes No |  |  |  |  |  |  |  |  |  |  |
| # Section C – Evaluation of Laboratory Testing/Hypothesis Testing (if applicable) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| # N/A |  |  |  |  | # Re-vialing of original working sample solution |  |  |  |  |  |  |  |  |  |
| # Re-injection of sample vial |  |  |  |  | # Re-dilution of a working sample solution from the original stock |  |  |  |  |  |  |  |  |  |
| # Re-injection of original standard vial |  |  |  |  | # Re-dilution of a working standard solution from the original stock standard |  |  |  |  |  |  |  |  |  |
| # Re-vialing of original working standard solution |  |  |  |  | # Other: _________________________________ |  |  |  |  |  |  |  |  |  |
| # Section D – Phase II Summary |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| # {{ smart_phase1_summary_block }} # Phase II Summary (continued): # {{ smart_phase2_narrative_block }} # Phase II Summary (continued): |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| # Has root cause been identified? # Yes No | # The most probable cause is: # Client Care notified: Yes No |  |  |  |  |  |  |  |  |  |  |  |  |  |
| # Section E – Corrective and Preventive Action |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| # Corrective Action(s): |  |  |  |  |  |  |  |  |  |  | # OOS cause (select all) |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  | # Equipment Error |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  | # Procedure |  |  | # Analyst |
|  |  |  |  |  |  |  |  |  |  |  | # Training |  |  | # System |
|  |  |  |  |  |  |  |  |  |  |  | # External Phenomena |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  | # Other: ____________ |  |  |  |
| # Preventive Action(s) |  |  |  |  |  |  |  |  |  |  | # CAPA required: # Yes, CAPA # _________ # No |  |  |  |
| # FOLLOW-UP REQUIRED: Yes No |  |  |  |  |  |  | # FOLLLOW-UP DATE: |  |  |  |  |  |  |  |
| # Section F – Acknowledgement and Closure |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| # Prepared by: |  | # Print Name: |  |  |  |  |  |  |  | # Date: |  |  |  |  |
| # Reviewed by: |  | # Print Name: |  |  |  |  |  |  |  | # Date: |  |  |  |  |
| # Approved by (QA): |  | # Print Name: |  |  |  |  |  |  |  | # Date: |  |  |  |  |