Phase I

| # Section A – Test Details |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| # Initiator: | # {{ analyst_signature }} | # Test Date: |  | # {{ test_date }} |  |  |  | # Date Initiated: |  | {{ date_initiated }} |  |
| # Date of Incident: | {{ date_of_incident }} | # Test Name: |  | Environmental Monitoring |  |  |  | # Sample ID: |  | # {{ report_header }} |  |
| # Name of Analyst who Performed the Test: | # {{ smart_personnel_block }} | # Sample / Active Name |  | # {{ sample_name }} |  |  |  | # Lot #: |  | # {{ lot_number }} |  |
|  |  | # Dosage Form |  | # {{ dosage_form}} |  |  |  |  |  |  |  |
| # Description of # Incident: | # {{ smart_incident_opening }} |  |  |  | # Client Care notified of OOS # Sterility and Endotoxin test related OOS; Client must be notified within 24 hours of OOS |  |  |  |  |  |  |
|  | SOP / Test Method #: MICRO-SOP-2 | Effective Date: 05 Aug 2025 |  |  |  |  | SOP / Test Method Rev: 15 |  | # Limits/Specification: # <1 event |  |  |
| # Manager notified | # Manager/designee name: # Kathan Parikh | Date: {{ date_initiated }} |  |  |  |  | # Quality Assurance Department Notified: |  | # Yes No |  |  |
| # Section B – Investigation and Root Cause Analysis |  |  |  |  |  |  |  |  |  |  |  |
| # Personnel Discrepancy |  |  |  |  |  | # Comments |  |  |  |  |  |
| # Analyst interviewed? |  | # Yes No N/A |  |  |  | # {{ smart_comment_interview }} |  |  |  |  |  |
| # Correct samples analyzed? |  | # Yes No N/A |  |  |  | # {{ smart_comment_samples }} |  |  |  |  |  |
| # Correct SOP / Test Method used/followed? |  | # Yes No N/A |  |  |  | Yes, as per MICRO-SOP-2 |  |  |  |  |  |
| # Correct sample collection/technique? |  | # Yes No N/A |  |  |  | Yes, as per MICRO-SOP-2 |  |  |  |  |  |
| # Are the Test Result Records Attached & Calculations Verified and Correct? |  | # Yes No N/A |  |  |  | # {{ smart_comment_records }} |  |  |  |  |  |
| # Is the analyst qualified to perform the test? |  | # Yes No N/A |  |  |  | Yes, the analysts are trained and qualified by quality to perform the test |  |  |  |  |  |
| # Is formula worksheet provided and verified? |  | # Yes No N/A |  |  |  | # Not Applicable |  |  |  |  |  |
| # Does the processing method/ method set conform to the required specification? |  | # Yes No N/A |  |  |  | # Not Applicable |  |  |  |  |  |
| # Was the sample stored appropriately? |  | # Yes No N/A |  |  |  | Yes, as per MICRO-SOP-2 |  |  |  |  |  |
| # Material Discrepancy |  |  |  |  |  | # Lot Number |  |  |  |  | # Expiry Date |
| # Is the integrity of the sample(s) questionable? |  | # Yes No N/A |  |  |  |  |  |  |  |  |  |
| # Are the other test results from this run under investigation? |  | # Yes No N/A (See Phase I summary) |  |  |  |  |  |  |  |  |  |
| # Appropriate /correct glassware used? |  | # Yes No N/A |  |  |  |  |  |  |  |  |  |
| # Are reagents stored in proper condition and not expired? |  | # Yes No N/A |  |  |  | {{ reagent_lot }} |  |  |  |  | {{ reagent_exp }} |
| # Standard Used |  | # {{ control_positive }} |  |  |  | # {{ control_lot }} |  |  |  |  | # {{ control_data }} |
| # Solvent Used |  | # Not Applicable |  |  |  | # Not Applicable |  |  |  |  | # Not Applicable |
| # Is the standard the source of the root cause? |  | # Yes No N/A |  |  |  | # Not Applicable |  |  |  |  | # Not Applicable |
| # Has the analyst been instructed to keep the original test solution for possible retesting? |  | # Yes No N/A |  |  |  | # Not Applicable |  |  |  |  | # Not Applicable |
| # Equipment Discrepancy |  |  |  |  |  | # Equipment ID |  |  |  |  | # Calibration Due Date |
| # Was the instrument set up correctly? |  | # Yes No N/A |  |  |  | Please see below |  |  |  |  | Please see below |
| # Is the clean room facility certified? |  | Yes No N/A |  |  |  | {{ cr_display }} |  |  |  |  | {{ cr_exp }} |
| # System Performance Check (if applicable)? |  | # Yes No N/A |  |  |  | N/A |  |  |  |  | N/A |
| # System Suitability RSD < 2% (PDA)? |  | # Yes No N/A |  |  |  | # Not Applicable |  |  |  |  | # Not Applicable |
| # System Suitability RSD < 10% (QDA,CAD)? |  | # Yes No N/A |  |  |  | # Not Applicable |  |  |  |  | # Not Applicable |
| # Do the environmental monitoring results conform to required standards? |  | Yes No N/A |  |  |  | # See Phase I Summary |  |  |  |  | # See Phase I Summary |
| # Do the controls (i.e., positive, negative, etc.) conform to the required standards? |  | Yes No N/A |  |  |  | # See Phase I Summary |  |  |  |  | # See Phase I Summary |
| # Is equipment/instrument functional and calibrated/qualified/certified/PM? |  | # Yes No N/A |  |  |  | # Incubator E001034 # (Sensor E001501) # Incubator E001031 (Sensor E001505) |  |  |  |  | # Aug26 # Feb26 # Aug26 # Feb26 |
| # Are chromatogram/spectra/raw data correct? |  | # Yes No N/A |  |  |  | # Not Applicable |  |  |  |  | # Not Applicable |
| # Section C – Phase I Summary |  |  |  |  |  |  |  |  |  |  |  |
| # Has root cause been identified as a possible laboratory error? # Note: Root cause must be conclusive, verifiable, and well-documented. # Yes # If retesting is required, complete Phase II of the OOS (initiate Form 3.100.019.F02). # No, the OOS result is valid. |  |  |  |  |  |  |  |  |  |  |  |
| Phase I Summary: # {{ smart_phase1_summary }} # {{ smart_phase1_continued }} |  |  |  |  |  |  |  |  |  |  |  |
| # Reviewer Comments: |  |  |  |  |  |  |  |  |  |  |  |
| # Acknowledgement and Closure |  |  |  |  |  |  |  |  |  |  |  |
| # Can investigation be closed? # Yes # Original result is valid. # No, initiate Form 3.100.019.F02. |  |  |  |  |  |  |  |  |  |  |  |
| # Prepared by (Print): |  |  | # Signature/Date: |  |  |  |  |  |  |  |  |
| # Lab Manager/designee (Print): |  |  | # Signature/Date: |  |  |  |  |  |  |  |  |
| # Approved by QA Representative (Print): # Closed: YES NO |  |  | # Signature/Date: |  |  |  |  |  |  |  |  |

# Table 1: Information for {{ sample_id }} under investigation

# Table 2: Environmental Monitoring from Testing Performed on {{ test_date }}

# Table 3: In Trend of Past OOS Results for {{ client_name }} for analyte "{{ sample_name }}"

Table 1: Read Dates & Incubation Observation

Table 2: Environmental Monitoring for Analyst & Cleanroom

| ETX Submission ID | Set-up Analyst & Date | Sampling Site & Location | Plate Reading Analyst (≥ 48H) | CFUs Observed after 48 Hour Incubation at 30–35°C (E001031) | Plate Reading Analyst (NLT 5 days) | CFUs Observed after NLT 5-day Incubation at 20–25°C (E001034) | Microbial Identification |
| --- | --- | --- | --- | --- | --- | --- | --- |
| {{ etx_id }} | {{ setup_analyst_initial }} {{ test_date }} | {{ sampling_location }} | {{ reader_48h }} | {{ cfu_obs_48h }} | {{ reader_5d }} | {{ cfu_obs_5d }} | {{ microbial_id }} |

| Environmental Monitoring (EM) Sampling Site | Frequency | Date (DDMMMYYYY) | Analyst (Initials) | Day /Week(s) | Observation | Environmental Monitoring Plate ETX ID | Microbial ID | Notes |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Personnel EM Bracketing |  |  |  |  |  |  |  |  |
| Personal (Left Touch and Right Touch) | Daily | {{ before_date }} | {{ analyst_initial }} | Date Before Testing | {{ pers_obs_before }} | {{ pers_etx_before }} | {{ pers_id_before }} | None |
| Personal (Left Touch and Right Touch) | Daily | {{ test_date }} | {{ analyst_initial }} | Date of Testing | {{ pers_obs_during }} | {{ pers_etx_during }} | {{ pers_id_during }} | None |
| Personal (Left Touch and Right Touch) | Daily | {{ after_date }} | {{ analyst_initial }} | Date After Testing | {{ pers_obs_after }} | {{ pers_etx_after }} | {{ pers_id_after }} | None |
| Biological Safety Cabinet EM Bracketing Biological Safety Cabinet (BSC) |  |  |  |  |  |  |  |  |
| Surface Sampling of ISO 5 (4 locations) | Daily | {{ before_date }} | {{ bsc_surf_analyst_before }} | Date Before Testing | {{ bsc_surf_obs_before }} | {{ bsc_surf_etx_before }} | {{ bsc_surf_id_before }} | None |
| Surface Sampling of ISO 5 (4 locations) | Daily | {{ test_date }} | {{ bsc_surf_analyst_during }} | Date of Testing | {{ bsc_surf_obs_during }} | {{ bsc_surf_etx_during }} | {{ bsc_surf_id_during }} | None |
| Surface Sampling of ISO 5 (4 locations) | Daily | {{ after_date }} | {{ bsc_surf_analyst_after }} | Date After Testing | {{ bsc_surf_obs_after }} | {{ bsc_surf_etx_after }} | {{ bsc_surf_id_after }} | None |
| Settling Sampling of ISO 5 (2 locations) | Daily | {{ before_date }} | {{ bsc_sett_analyst_before }} | Date Before Testing | {{ bsc_sett_obs_before }} | {{ bsc_sett_etx_before }} | {{ bsc_sett_id_before }} | None |
| Settling Sampling of ISO 5 (2 locations) | Daily | {{ test_date }} | {{ bsc_sett_analyst_during }} | Date of Testing | {{ bsc_sett_obs_during }} | {{ bsc_sett_etx_during }} | {{ bsc_sett_id_during }} | None |
| Settling Sampling of ISO 5 (2 locations) | Daily | {{ after_date }} | {{ bsc_sett_analyst_after }} | Date After Testing | {{ bsc_sett_obs_after }} | {{ bsc_sett_etx_after }} | {{ bsc_sett_id_after }} | None |
| Weekly Active Air Sampling Bracketing |  |  |  |  |  |  |  |  |
| Active Air Sampling of Cleanrooms | Weekly | {{ date_of_weekly_air }} | {{ weekly_air_analyst }} | Week (On or After Testing Date) | {{ air_obs }} | {{ air_etx }} | {{ air_id }} | None |
| Surface Sampling of Anteroom and Cleanroom Bracketing |  |  |  |  |  |  |  |  |
| Surface Sampling of Cleanrooms | Weekly | {{ date_of_weekly_surf }} | {{ weekly_surf_analyst }} | Week (On or After Testing Date) | {{ room_surf_obs }} | {{ room_surf_etx }} | {{ room_surf_id }} | None |