# Table 1: Information for ETX-260805-0189 under investigation

| Processing Analyst | Reading Analyst | Sample ID | Events | Confirmed Microbial Events | Morphology Description |
| --- | --- | --- | --- | --- | --- |
| Sonal Uprety | Varsha Subramanian | ETX-260805-0189 | 187 | 4 | Rod-shaped Morphology |

# Table 2: Environmental Monitoring from Testing Performed on 07Aug26

| Environmental Monitoring (EM) Sampling Site |  | Frequency | Date (DDMMM YY) | Analyst (Initials) |  | Day /Week(s) |  | Observation |  | Environmental Monitoring Plate ETX ID |  | Microbial ID | Notes |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Personnel EM Bracketing on 07Aug26 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Personal (Left Touch and Right Touch) |  | Daily | 07Aug26 | SU |  | Date of Testing |  | 1 CFU on RT |  | ETX-260817-0447 |  | Micrococcus luteus | plate was desiccated on 5 day read. |
| Biological Safety Cabinet EM Bracketing Biological Safety Cabinet (BSC) E001313 on 07Aug26 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Surface Sampling of ISO 5 E001313 (4 locations) |  | Daily | 07Aug26 | SU |  | Date of Testing |  | No growth |  | N/A |  | N/A | None |
| Settling Sampling of ISO 5 E001313 (2 locations) |  | Daily | 07Aug26 | SU |  | Date of Testing |  | 2 CFUs on sett 2 |  | ETX-260817-0507 |  | Insufficient read Gram (+) rods | plate was desiccated on 5 day read. |
| Weekly Active Air Sampling Bracketing – Cleanroom 115 – CR1737 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Environmental Monitoring (EM) Sampling Site | Frequency |  | Date (DDMMM YY) |  | Analyst (Initials) |  | Observation |  | Environmental Monitoring Plate ETX ID |  | Microbial ID |  | Notes |
| Active Air Sampling of Cleanrooms | Weekly |  | 06Aug26 |  | SMO |  | 1 CFU in ISO 8 115 |  | ETX-260817-0370 |  | Gram (+) short rods |  | None |
| Surface Sampling of Anteroom and Cleanroom Bracketing - Cleanroom 115 – CR1737 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Surface Sampling of Cleanrooms | Weekly |  | 06Aug26 |  | SMO |  | 2 CFUs on floor in 115A ISO 7 |  | ETX-260817-0366 |  | Bacillus megaterium |  | None |

# Table 3: In Trend of Past OOS Results for GoGoMeds Select (E10747) for analyte "Tirzepatide/B12 25/1mg/mL Injectable"

| OOS# | Analyst | Sample ID | Analyte | Morphology Description |
| --- | --- | --- | --- | --- |
| Sonal Uprety | Sonal Uprety | ETX-260805-0189 | Tirzepatide/B12 25/1mg/mL Injectable | Rod-shaped Morphology |