Table 1: Information for ETX-260813-0632 under investigation

| Reading Analyst | Day of Incubation | Sample ID | Related Microbial ID | Media with microbial growth | Microbial Identification |
| --- | --- | --- | --- | --- | --- |
| Andrew Carrillo | 7 | ETX-260806-0702 (BUD-T30) | ETX-260907-0017 | 1 x 100 mL TSB | Paenibacillus lautus Gram (+) rods |

Table 2: Environmental Monitoring for Analyst & Cleanroom

| Environmental Monitoring (EM) Sampling Site | Frequency | Date (DDMM YYYY) | Analyst (Initials) | Day /Week(s) | Observation | Environmental Monitoring Plate ETX ID | Microbial ID | Notes |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Personnel EM Bracketing 13Aug2026 |  |  |  |  |  |  |  |  |
| Personal (Left Touch and Right Touch) | Daily | 31 Aug 2026 | ES | Date Before Testing | No growth | N/A | N/A | None |
| Personal (Left Touch and Right Touch) | Daily | 01 Sep 2026 | ES | Date of Testing | No growth | N/A | N/A | None |
| Personal (Left Touch and Right Touch) | Daily | 02 Sep 2026 | ES | Date After Testing | No growth | N/A | N/A | None |
| Biological Safety Cabinet EM Bracketing Biological Safety Cabinet (BSC) E001314 |  |  |  |  |  |  |  |  |
| Surface Sampling of ISO 5 (4 locations) | Daily | 31 Aug 2026 | ES | Date Before Testing | No growth | N/A | N/A | None |
| Surface Sampling of ISO 5 (4 locations) | Daily | 01 Sep 2026 | ES | Date of Testing | No growth | N/A | N/A | None |
| Surface Sampling of ISO 5 (4 locations) | Daily | 02 Sep 2026 | ES | Date After Testing | No growth | N/A | N/A | None |
| Settling Sampling of ISO 5 (2 locations) | Daily | 31 Aug 2026 | ES | Date Before Testing | No growth | N/A | N/A | None |
| Settling Sampling of ISO 5 (2 locations) | Daily | 01 Sep 2026 | ES | Date of Testing | No growth | N/A | N/A | None |
| Settling Sampling of ISO 5 (2 locations) | Daily | 02 Sep 2026 | ES | Date After Testing | No growth | N/A | N/A | None |
| Weekly Active Air Sampling for CR 114 |  |  |  |  |  |  |  |  |
| Active Air Sampling of Cleanrooms | Weekly | 04 Sep 2026 | SMO | Week of Testing | 1 CFU (ISO8) | ETX-260914-0487 | Pending | None |
| Surface Sampling of Anteroom and Cleanroom for CR 115 (E001737) |  |  |  |  |  |  |  |  |
| Surface Sampling of Cleanrooms | Weekly | 04 Sep 2026 | SMO | Week of Testing | No growth | N/A | N/A | None |