# Table 1: Information for ETX-260902-0505 and ETX-260914-0470 under investigation

| Processing Analyst | Reading Analyst | Sample ID | Related Microbial ID | Media with microbial growth | Microbial ID |
| --- | --- | --- | --- | --- | --- |
| Alex Saravia | Elysse Nioupin | ETX-260902-0505 | ETX-260910-0290 | 1 x 100mL TSB bottle | Microbacterium sp. PM5 (Gram (+) rods) |
| Ayomide Odugbesi | Andrew Carrillo | ETX-260914-0470 | ETX-260921-0498 | 1 x 100mL TSB bottle | Microbacterium sp. PM5 (Gram (+) short rods) |

# Table 2: Environmental Monitoring from Processing Performed on 04Sep26

| Environmental Monitoring (EM) Sampling Site | Frequency |  | Date (DDMMMYY) | Analyst (Initials) |  | Day /Week(s) | Observation* |  | Environmental Monitoring Plate ETX ID | Microbial ID | Notes |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Personnel EM |  |  |  |  |  |  |  |  |  |  |  |  |
| Personnel (Left Touch and Right Touch) | Daily |  | 03Sep26 | ES |  | Date Before Testing | No growth |  | N/A | N/A | None |  |
| Personnel (Left Touch and Right Touch) | Daily |  | 04Sep26 | ES |  | Date of Testing | No growth |  | N/A | N/A | None |  |
| Personnel (Left Touch and Right Touch) | Daily |  | 08Sep26 | ES |  | Date After Testing | No growth |  | N/A | N/A | None |  |
| Biological Safety Cabinet EM for E001316 |  |  |  |  |  |  |  |  |  |  |  |  |
| Surface Sampling of ISO 5 (4 locations) | Daily |  | 03Sep26 | ES |  | Date Before Testing | No growth |  | N/A | N/A | None |  |
| Surface Sampling of ISO 5 (4 locations) | Daily |  | 04Sep26 | ES |  | Date of Testing | No growth |  | N/A | N/A | None |  |
| Surface Sampling of ISO 5 (4 locations) | Daily |  | 08Sep26 | ES |  | Date After Testing | No growth |  | N/A | N/A | None |  |
| Settling Sampling of ISO 5 (2 locations) | Daily |  | 03Sep26 | ES |  | Date Before Testing | No growth |  | N/A | N/A | None |  |
| Settling Sampling of ISO 5 (2 locations) | Daily |  | 04Sep26 | ES |  | Date of Testing | No growth |  | N/A | N/A | None |  |
| Settling Sampling of ISO 5 (2 locations) | Daily |  | 08Sep26 | ES |  | Date After Testing | No growth |  | N/A | N/A | None |  |
| Weekly Active Air Sampling of Cleanroom Suite 114 (E001736) with Processing BSC |  |  |  |  |  |  |  |  |  |  |  |  |
| Active Air Sampling of Cleanrooms |  | Weekly | 04Sep26 | ISS | Week of Testing |  |  | 2 CFUs (ISO 8 114) | ETX-260914-0487 | Corynebacterium ureicelerivorans Mycobacterium grossiae |  | None |
| Weekly Surface Sampling of Cleanroom Suite 114 (E001736) with Processing BSC |  |  |  |  |  |  |  |  |  |  |  |  |
| Surface Sampling of Cleanrooms |  | Weekly | 04Sep26 | ISS | Week of Testing |  |  | No growth | N/A | N/A |  | None |

Table 3: Environmental Monitoring from Processing Performed on 15Sep26

| Environmental Monitoring (EM) Sampling Site | Frequency |  | Date (DDMMMYY) | Analyst (Initials) |  | Day /Week(s) | Observation* |  | Environmental Monitoring Plate ETX ID | Microbial ID | Notes |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Personnel EM |  |  |  |  |  |  |  |  |  |  |  |  |
| Personnel (Left Touch and Right Touch) | Daily |  | 14Sep26 | AOD |  | Date Before Testing | No growth |  | N/A | N/A | None |  |
| Personnel (Left Touch and Right Touch) | Daily |  | 15Sep26 | AOD |  | Date of Testing | No growth |  | N/A | N/A | None |  |
| Personnel (Left Touch and Right Touch) | Daily |  | 16Sep26 | AOD |  | Date After Testing | No growth |  | N/A | N/A | None |  |
| Biological Safety Cabinet EM for E001314 |  |  |  |  |  |  |  |  |  |  |  |  |
| Surface Sampling of ISO 5 (4 locations) | Daily |  | 14Sep26 | AOD |  | Date Before Testing | No growth |  | N/A | N/A | None |  |
| Surface Sampling of ISO 5 (4 locations) | Daily |  | 15Sep26 | AOD |  | Date of Testing | No growth |  | N/A | N/A | None |  |
| Surface Sampling of ISO 5 (4 locations) | Daily |  | 16Sep26 | AOD |  | Date After Testing | No growth |  | N/A | N/A | None |  |
| Settling Sampling of ISO 5 (2 locations) | Daily |  | 14Sep26 | AOD |  | Date Before Testing | No growth |  | N/A | N/A | None |  |
| Settling Sampling of ISO 5 (2 locations) | Daily |  | 15Sep26 | AOD |  | Date of Testing | No growth |  | N/A | N/A | None |  |
| Settling Sampling of ISO 5 (2 locations) | Daily |  | 16Sep26 | AOD |  | Date After Testing | No growth |  | N/A | N/A | None |  |
| Weekly Active Air Sampling of Cleanroom Suite 115 (E001737) with Processing BSC |  |  |  |  |  |  |  |  |  |  |  |  |
| Active Air Sampling of Cleanrooms |  | Weekly | 15Sep26 | SMO | Week of Testing |  |  | 9 CFUs (ISO 8 115) | ETX-260923-0402 | Kocuria indica Brevibacterium sp. CS2 Corynebacterium sp Micrococcus luteus Paracoccus yeei Staphylococcus hominis Kocuria rhizophila |  | None |
| Weekly Surface Sampling of Cleanroom Suite 115 (E001737) with Processing BSC |  |  |  |  |  |  |  |  |  |  |  |  |
| Surface Sampling of Cleanrooms |  | Weekly | 15Sep26 | SMO | Week of Testing |  |  | No growth | N/A | N/A |  | None |